

March 2021
	Americas

Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 14450,

USA

Phone: + 1 800 289 0096

Fax: +1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us
	Europe, Middle East, Africa

Bosch Security Systems B.V.

P.O. Box 80002
5600 JB Eindhoven
The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com
www.boschsecurity.com
	Asia-Pacific


Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943


Phone: +65 6571 2808

Fax: +65 6571 2699

apr.securitysystems@bosch.com

www.boschsecurity.asia


Product Guide Specification


SECTION 28 23 29
VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS
Bosch FLEXIDOME multi 7000i cameras
PART 1 – GENERAL
1.1 SUMMARY
A. Section Includes

1. Video Surveillance Remote Devices.
B. Related Sections

1. Section [28 23 13 – Video Surveillance Control and Management Systems].

2. Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

3. Section [28 23 19 – Digital Video Recorders and Analog Recording Devices].

4. Section [28 23 23 – Video Surveillance Systems Infrastructure].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.
1.2 REFERENCES

A. EMC – Emissions

1. EN 55032 (Class A) - Electromagnetic compatibility of multimedia equipment - Emission requirements
2. CFR 47 FCC part 15, Class A - Code of Federal Regulations Title 47 – Telecommunication Chapter I - FEDERAL COMMUNICATIONS COMMISSION, Subchapter A – GENERAL, Part 15 - RADIO FREQUENCY DEVICES

B. EMC – Immunity

1. EN 50121-4 - Railway applications - Electromagnetic compatibility - Part 4: Emission and immunity of the signaling and telecommunications apparatus

2. EN 50130-A - Alarm systems - Part 4: Electromagnetic compatibility - Product family standard: Immunity requirements for components of fire, intruder, hold up, CCTV, access control and social alarm systems

C. Environmental
1. EN50130-5, Class IV, Fixed equipment, Outdoor in general - Alarm systems - Part 5: Environmental test methods

2. EN IEC 63000: 2018

3. RoHS EU, 2011/65/EU and 2015/863/EU

4. WEEE EU, 2012/19/EU

5. NEMA TS-2 - Environmental testing – chapter 2.1: Tests Temperature, humidity, shock, vibration
D. Safety

1. EN 62368-1 - Audio/video, information and communication technology equipment - Part 1: Safety requirements

2. EN 60950-22 - Information technology equipment - Safety - Part 22: Equipment to be installed outdoors

3. UL 62368-1 - 2nd Edition, 2014-12-01 (Audio/video, Information and Communication Technology Equipment - Part 1: Safety Requirements)
4. UL 60950-22 - Information Technology Equipment - Safety - Part 22: Equipment to be Installed Outdoors
5. IEC 62368-1
6. CAN/CSA-C22.2 No. 62368-1-14 - 2nd Edition, 2014-12 (Audio/video, Information and Communication Technology Equipment - Part 1: Safety Requirements)
7. CAN/CSA-C22.2 No. 60950-22-07 - Information Technology Equipment - Safety - Part 22: Equipment to be Installed Outdoors

A. Image performance

1. IEC 62676-5 - Video surveillance systems for use in security applications - Part 5: Data specifications and image quality performance for camera devices

B. Impact protection

1. EN 62262 (IK10) - Degrees of protection provided by enclosures for electrical equipment against external mechanical impacts (IK code)

C. Water/dust protection

1. EN 60529 (IP66) - Degrees of protection provided by enclosures (IP Code)

2. NEMA Type 4X

D. Marks

1. CE, FCC, UL, WEEE, RCM, VCCI, CMIM, UKCA, China RoHS
1.3 SYSTEM DESCRIPTION
A. Video Surveillance Remote Devices

1. NDM-7702-A FLEXIDOME multi 7000i camera
2. NDM-7703-A FLEXIDOME multi 7000i camera

B. Performance Requirements

1. Four independent imagers with motorized zoom/focus lenses in one single camera.
2. 12 MP variant camera (NDM-7702-A):

4x 2048 x 1536 (4:3) @30 fps

4x 1920 x 1080 (16:9) @30 fps
20 MP variant camera (NDM-7703-A):

4x 2592 x 1944 (4:3) @30 fps

4x 2560 x 1440 (16:9) @30 fps
3. Built-in Intelligent Video Analytics.
4. H.265, H.264, and M-JPEG encoding.
5. 4x motorized zoom/focus 3.7 - 7.7 mm.
6. Micro SD card slot for edge recording up to 2 TB.
7. ONVIF conformant.

8. +24 VAC and Power over Ethernet (PoE+).
9. Integrated digital MEMS microphone

10. USB-C port for local commissioning via wireless USB dongle

11. Alarm and Audio I/O connections
1.4 SUBMITTALS

A. Submit under provisions of Section [01 33 00].
B. Product Data:

1. Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.
C. Shop Drawings; include

1. System device locations on architectural floor plans.

2. Full Schematic of system, including wiring information for all devices.

D. Closeout Submittals

1. User manual.

2. Parts list.

3. System device locations on architectural floor plans.

4. Wiring and connection diagram.

5. Maintenance requirements.

1.5 QUALITY ASSURANCE

A. Manufacturer:

1. Minimum of [10] years experience in manufacture and design Video Surveillance Devices.

2. Manufacturer’s quality system: Registered to ISO 9001 Quality Standard.

B. Video Surveillance System
1. Listed by cULus.

2. Certified compliant to [FCC] [CE] [UL] product specific requirements. Test methods are in accordance with international standards. Provide evidence of compliance upon request. 

C. Installer:

1. Minimum of [5] years experience installing Video Surveillance Systems.
1.6 DELIVERY, STORAGE AND HANDLING

A. Comply with requirements of Section [01 60 00].
B. Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.
C. Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

D. Handle and operate products and systems according to manufacturer’s instructions.

E. Bosch provides off-the-shelf availability for our top selling products and same-day or 24-hour shipping.

1.7 WARRANTY

A. Provide manufacturer’s warranty covering [3] years for replacement and repair of defective equipment.
1.8 MAINTENANCE

A. Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.
B. Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. via phone and e-mail.
PART 2 – PRODUCTS
2.1 MANUFACTURERS
A. Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 14450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com
www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5600 JB Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2808

Fax: +65 6571 2699
apr.securitysystems@bosch.com 
www.boschsecurity.com]

B. Substitutions: [Not permitted.] [Under provisions of Division 1.]

1. [All proposed substitutions must be approved by the Architect or Engineer professional.]

2. [Proposed substitutions must provide a line-by-line compliance documentation.]

**********Specifier’s note: Select Camera System Series based on project requirement.  
2.2 FLEXIDOME multi 7000i [NDM-7702-A, NDM-7703-A] 
A. General Characteristics:

1. The camera shall be capable of operating in an indoor and an outdoor environment.

2. The camera shall offer tamper detection and Intelligent Video Analytics.
3. The camera shall offer two-way full-duplex audio communication.

4. The camera shall provide eight independent, fully programmable privacy mask areas per imager.

5. The camera shall be easy to install.

B. Imaging Requirements
1. The camera shall offer 4x 1/2.7-inch CMOS image sensor.
2. The 12 MP variant camera (NDM-7702-A) shall offer:


4x 2048 x 1536 (4:3) @30 fps

4x 1920 x 1080 (16:9) @30 fps
The 20 MP variant camera (NDM-7703-A) shall offer:

4x 2592 x 1944 (4:3) @30 fps

4x 2560 x 1440 (16:9) @30 fps
3. The 12 MP variant camera (NDM-7702-A) shall be fitted with 4x motorized zoom/focus 3.7 - 7.7 mm, F1.9 lenses with a lens view angle of:

81.9º x 59.8º (H x V) (Wide)

39.5º x 28.9º (H x V) (Tele)
The 20 MP variant camera (NDM-7703-A) shall be fitted with 4x motorized zoom/focus 3.7 - 7.7 mm, F1.9 lenses with a lens view angle of:

85.6º x 62.4º (H x V) (Wide)

39.0º x 29.2º (H x V) (Tele)
4. The maximum combined lens view angle shall be up to 360º coverage (depending on lens position and tilt)

5. The camera shall have a high dynamic range of 120 dB WDR.
6. The camera shall have high sensitivity in color (0.091 lx) and in monochrome (0.012 lx).
7. The camera automatic electronic shutter shall offer a shutter speed of 1/25 [30] to 1/15000.
8. The camera shall be capable of capturing and storing images using the following compression standards:

H.265

H.264

M- JPEG
C. Network Video

1. The camera shall provide direct network connection using H.265, H.264, and M-JPEG compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.

2. The camera shall allow full camera control and configuration capabilities over the network.

3. The camera shall deliver video, at rates up to 30 images per second, via TCP/IP over a 10/100/1000 Base-T, auto-sensing, half/full-duplex, RJ45 Ethernet connection.

4. The camera shall support TLS1.0/1.1/1.2, AES128, AES256 encryption.

5. The camera shall conform to the ONVIF Profile S, G and T standard.

6. The camera shall conform to protocols: IPv4, IPv6, UDP, TCP, HTTP, HTTPS, RTP/RTCP, IGMP V2/V3, ICMP, ICMPv6, RTSP, FTP, ARP, DHCP, APIPA (Auto-IP, link local address), NTP (SNTP), SNMP (V1, V3, MIB-II), 802.1x, DNS, DNSv6, DDNS (DynDNS.org, selfHOST.de, no-ip.com), SMTP, iSCSI, UPnP (SSDP), DiffServ (QoS), LLDP, SOAP, Dropbox™, CHAP, digest authentication. 

D. Audio

1. The camera shall have audio line in and audio line out for two-way, full-duplex /half duplex audio communication with audio compression G.711, L16, AAC-LC (live and recording).
2. Integrated digital MEMS microphone for audio analytics
E. Control

1. The camera shall be configured via a web browser, PC surveillance software, or Project Assistant app.
F. Connectors

1. The camera shall have one RJ-45 for Ethernet.
2. The camera shall have one alarm input with short or DC 5V activation.
3. The camera shall have one alarm output (30 VDC, max. load 0.5 A).

4. The camera shall have one audio line in for audio input.

5. The camera shall have one audio line out for audio output.
6. USB-C port for local commissioning via wireless USB dongle

G. Electrical

1. The camera shall accept either +24 VAC (1.1 A / 16.0 W) or Power over Ethernet (18.02 W).

2. The camera shall be powered with a IEEE 802.3at (Type 2) compliant injector.
3. The camera shall consume 16 W (max.).

H. Access Security

1. The camera shall offer three levels of password protection.

2. The camera shall support 802.1x authentication with EAP/TLS, supporting TLS 1.2 with updated cipher suites including AES 256 encryption.
3. The camera shall offer a TPM (Trusted Platform Module), which stores all certificates, passwords and encryption data and guards it against unauthorized access.

4. The camera shall store an SSL certificate for use with HTTPS.

I. Recording and Storage Management

1. The camera shall support iSCSI devices to allow video stream to be recorded directly to an iSCSI RAID array.

2. The camera shall support iSCSI storage targets to enable the camera to function as a conventional DVR.

3. The camera shall have a micro SD card slot that uses industrial micro SD cards for local storage (up to 2 TB).

4. The camera shall support industrial SD protocol for integrated health monitoring.

5. The local storage feature shall be capable of storage for Automatic Network Replenishment (ANR).

6. Local Recording: Continuous recording, ring recording, alarm/events/schedule recording.

J. Alarm Handling Features:

1. The camera shall provide the capability on alarm to display up to a 31 character, programmable alarm message.

2. The camera shall provide email alarm messaging with optional JPEG posting.

K. Intelligent Video Analytics (IVA)

1. The camera shall offer built-in Intelligent Video Analytics (IVA) that eliminates dedicated PCs and associated software maintenance.

2. The camera shall offer advanced Intelligent Video Analytics (IVA) with automated calibration by use of an integrated gyro-sensor so only camera height needs to be set for a full calibration.

3. The camera shall offer built-in Intelligent Video Analytics (IVA) with the following functionality:

a. Triggers: any object, object in field, line crossing, enter field, leave field, loitering, follow route, idle object, removed object, counting, occupancy, crowd density, condition change, similarity search, flow, counter flow, conditional change 

b. Filters: duration, size, aspect ratio, speed, direction, color, object classes

c. Tracking modes: 3D, 3D people, ship, museum 

d. Tamper detection: global change, scene too bright, scene too dark, reference check

e. Face detection

4. The camera shall allow users to set up to 10 separate profiles and switch profiles based on a day/night or holiday schedules. 

5. The camera shall support people counting.

6. The camera shall incorporate an IVA alarm rule engine that support programming of up-to 8 independent alarm tasks which are individually reported to the video management software.
L. Environmental

1. The camera shall operate in a -50°C to +55°C (-58°F to +131°F) temperature range.

2. The camera can be stored in a -40°C to +70°C (-40°F to +158°F) temperature range.

3. The camera can be operated/stored in 5% to 93% relative humidity (non-condensing).

4. The camera shall offer IP66 ingress protection.

5. The camera shall offer IK10 impact protection.
M. Mechanical
1. The camera dimensions shall be: 

Diameter 220 mm (8.7 in.)

Height 111 mm (4.4 in.).

2. The camera weight shall be 2.33 kg (5.14 lbs) approx.

3. The camera shall have 4-axis adjustment (rotate/pan/tilt/roll).

4. The camera shall be surface mounted.

5. The camera color is white (RAL9003).

2.3 Accessories

A. Mounts

1. NDA-7051-PIPW Pendant Interface Plate, 220mm
2. NDA-7051-CA Conduit adapter M25 for NDM-770*, 5pcs
3. NDA-U-WMT Pendant wall mount

4. NDA-U-WMP Wall mount plate

5. NDA-U-PMT Pendant pipe mount, 12" (31cm)

6. NDA-U-PMTE Pendant pipe extension, 20" (50cm)

7. NDA-U-PMTS Pendant pipe mount, 4" (11 cm)

8. NDA-U-PSMB Pendant wall/ceiling mount SMB

9. NDA-U-PMAS Pole mount adapter small

10. NDA-U-PMAL Pole mount adapter large

11. NDA-U-RMT Pendant parapet mount
12. NDA-U-PMTG Pendant pipe mount, gang box

13. NDA-U-WMTG Pendant wall mount, gang box
B. Other

1. NDA-U-PA0 Surveillance cabinet 24VAC
2. NDA-U-PA1 Surveillance cabinet 120VAC

3. NDA-U-PA2 Surveillance cabinet 230VAC

4. VG4-SFPSCKT ETHERNET TO SFP INTERFACE KIT

5. SFP-2 Fiber module, multimode, 1310nm, 2LC

6. SFP-3 Fiber module, single-mode, 1310nm, 2LC

7. SFP-25 Fiber module, 1310/1550nm, 1SC

8. SFP-26 Fiber module, 1550/1310nm, 1SC

9. NPD-6001B Midspan, 60W, single port, AC in

10. NPD-3001-WAP Portable installation tool

11. Wireless USB dongle (available mid of 2021)
PART 3 – EXECUTION
3.1 EXAMINATION
A. Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.
B. Do not begin installation until unacceptable conditions are corrected.

3.2 PREPARATION

A. Protect devices from damage during construction.
3.3 INSTALLATION

A. Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.
B. Ensure selected location is secure and offers protection from accidental damage.

C. Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

3.4 FIELD QUALITY CONTROL

A. Test snugness of mounting screws of all installed equipment.

B. Test proper operation of all video system devices.
C. Determine and report all problems to the manufacturer’s customer service department.
3.5 ADJUSTING

A. Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.
B. Make any adjustment of camera settings to comply with specific customer’s need.
3.6 DEMONSTRATION
A. Demonstrate at final inspection that video management system and devices function properly.
END OF SECTION
202103261145
Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy. 





The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

















FLEXIDOME multi 7000i
#/3-26-21
28 23 29 - 10
Video Surveillance Remote Devices and Sensors


